## Heat Pump Calculator
Heating Requirements
|  | Your Location | Perth |  |  |  |  | Full Year |  | Extended |  | Solar
[7 empty] | Full Year Heating (12 Mths) |  | Extended Season (9 Mths) |  | Solar Equivalent ( 6 Mths)
Pool Dimensions
|  | Average Length | 15 | (Metres) | Month | Season | No Cover | With Cover | No Cover | With Cover | No Cover | With Cover
|  | Average Width |  | (Metres) | Jan | SUMMER | 50.778 | 39.06 | 50.778 | 39.06 | 50.778 | 39.06
|  | Average Depth | 1.2 | (Metres) | Feb |  | 45.864 | 35.28 | 45.864 | 35.28 | 45.864 | 35.28
[5 empty] | March | AUTUMN | 118.482 | 91.14 | 118.482 | 91.14 | 118.482 | 91.14
|  | Your Pool Capacity Is | 0 | (Litres) | April |  | 114.66 | 88.2 | 114.66 | 88.2
[5 empty] | May |  | 118.482 | 91.14 | 118.482 | 91.14
|  | Desired Pool Temperature | 28 |  | June | WINTER | 180.18 | 138.6
[5 empty] | July |  | 186.186 | 143.22
|  | Pool Cover | Yes |  | Aug |  | 186.186 | 143.22 |  |  |  |  | .
[5 empty] | Sept | SPRING | 114.66 | 88.2 | 114.66 | 88.2
|  | Desired Heating Season | All Year Round (12 Months) |  | Oct |  | 118.482 | 91.14 | 118.482 | 91.14 | 118.482 | 91.14
[5 empty] | Nov |  | 114.66 | 88.2 | 114.66 | 88.2 | 114.66 | 88.2
|  | Power Cost | 30 | (Cents per KW Hour - from your latest power bill) | Dec | SUMMER | 50.778 | 39.06 | 50.778 | 39.06 | 50.778 | 39.06
Total Estimated Annual Running Cost
[5 empty] | Standard Model |  | 1399.398 | 1076.46 | 846.846 | 651.42 | 499.044 | 383.88
| Heater Capacity |  |  |  | Inverter Model |  | 839.6388 | 645.876 | 508.1076 | 390.852 | 299.4264 | 230.328
Recommended Heater
Aquatight Saturn Inverter Model iX09
Upgrade Heater To
None
Cost Results
Estimated Annual Cost
|  | With Inverter | 645.876 | (Per Annum)
|  | Without Inverter | 1076.46 | (Per Annum)
© 2017 Aquatight
Developed by SolVu Consulting
Pool Heating Cost Calculator
The values indicated are valid under ideal conditions and for a standard basic domestic pool. Pool should be covered with an isothermal cover and the heater running for the required hours per day during the hottest part of the day. Waterfalls and other pool features will effect these figures.
The above data is subject to modification without notice

## Sheet1 (hidden)
Pool Location | Melbourne
Pool Dimensions
Average Length (m) | 8
Average Width (m) | 4 |  | FULL YEAR ROUND HEATING |  |  |  | EXTENDED SWIMMING SEASON HEATING (9 MONTHS) |  |  |  | SOLAR EQUIVALENT (6 MONTHS)
Average Depth (m) | 1.2 |  | Month | No Cover | With Cover | Season | Month | No Cover | With Cover | Season | Month | No Cover | With Cover | Season
|  |  | Jan | 70.308 | 50.22 | SUMMER | Jan | 70.308 | 50.22 | SUMMER | Jan | 70.308 | 50.22 | SUMMER
Litres | 38400 |  | Feb | 63.504 | 45.36 |  | Feb | 63.504 | 45.36 |  | Feb | 63.504 | 45.36
|  |  | March | 164.052 | 117.18 | AUTUMN | March | 164.052 | 117.18 | AUTUMN | March | 164.052 | 117.18 | AUTUMN
|  |  | April | 158.76 | 113.4 |  | April | 158.76 | 113.4 |  | April | 0 | 0
|  |  | May | 164.052 | 117.18 |  | May | 164.052 | 117.18 |  | May | 0 | 0
Desired Pool Temperature | 30 |  | June | 249.48 | 178.2 |  | June | 0 | 0 |  | June | 0 | 0
|  |  | July | 257.796 | 184.14 | WINTER | July | 0 | 0 | WINTER | July | 0 | 0 | WINTER
Select Heating Type Required | Solar Equivalent (6 Months) |  | Aug | 257.796 | 184.14 |  | Aug | 0 | 0 |  | Aug | 0 | 0
|  |  | Sept | 158.76 | 113.4 | SPRING | Sept | 158.76 | 113.4 | SPRING | Sept | 0 | 0 | SPRING
|  |  | Oct | 164.052 | 117.18 |  | Oct | 164.052 | 117.18 |  | Oct | 164.052 | 117.18
Power Cost (cents per KW Hour) | 30 |  | Nov | 158.76 | 113.4 |  | Nov | 158.76 | 113.4 |  | Nov | 158.76 | 113.4
|  |  | Dec | 70.308 | 50.22 | SUMMER | Dec | 70.308 | 50.22 | SUMMER | Dec | 70.308 | 50.22 | SUMMER
Model Chosen - KW Power Draw | 1.8 |  | Total Cost | 1937.628 | 1384.02 |  | Total Cost | 1172.556 | 837.54 |  | Total Cost | 690.984 | 493.56
|  |  | Inverter Model | 1162.5768 | 830.412 |  | Inverter Model | 703.5336 | 502.524 |  | Inverter Model | 414.5904 | 296.136
Your Pool Capacity (Litres) is:
38400 | Heat Pump Size recommend | . | Full Year Heating | Extended Season | Solar Equivalent
| Model size 9kw |  | 40000 | 56000 | 68000
| Model sixe 12kw |  | 60000 | 84000 | 96000
| Model Size 14w |  | 70000 | 98000 | 112000
| Model Size 16kw |  | 80000 | 96000 | 112000
| Model Size 23kw |  | 110000 | 132000 | 154000
| Model size 30kw |  | 150000 | 180000 | 210000

## Lookup (hidden)
No Cover Factor | Inverter Factor | Location | Litres Capacity Factor | Hours Per Day Factor | Heating Period | Season | Heater Rating | Kw PH Draw | Full Year | Extended | Solar | Heating Factor | Recommended or Greater | Ranked | Heating Hours Factor | Heater Rating | Heater Models | Pool Temperature | Hours Per Day Factor | Months | Hours Per Day Required
1.3 | 0.6 | Brisbane | 1 | 1 | Solar Equivalent (6 Months) | Solar | 9kw Model | 1.4 | 0 | 0 | 0 | 1 | TRUE | 1 | 1 | 9kw Model | Aquatight Saturn Inverter Model iX09 | 25 | 0.9 | Jan | 3
|  | Perth | 1 | 1 | Summer/Autumn/Spring (9 Months) | Extended | 12kw Model | 1.73 | 40000 | 56000 | 68000 | 0.6 | TRUE | 2 | 0.6 |  |  | 26 | 0.95 | Feb | 3
|  | Adelaide Metro | 1.1 | 1.1 | All Year Round (12 Months) | Full Year | 14kw Model | 2.2 | 60000 | 84000 | 96000 | 0.6 | TRUE | 3 | 0.36 | 12kw Model | Aquatight Saturn Inverter Model iX12 | 27 | 1 | Mar | 7
|  | Sydney | 1.1 | 1.1 |  |  | 16kw Model | 2.6 | 70000 | 96000 | 112000 | 0.6 | TRUE | 4 | 0.216 |  |  | 28 | 1 | Apr | 7
|  | Melbourne | 1.15 | 1.15 |  |  | 23kw Model | 3.3 | 80000 | 98000 | 112000 | 0.6 | TRUE | 5 | 0.1296 | 14kw Model | Aquatight Saturn Inverter Model iX16 | 29 | 1 | May | 7
|  | Hobart | 1.3 | 1.3 |  |  | 30kw Model | 3.8 | 110000 | 132000 | 154000 | 0.6 | TRUE | 6 | 0.07776 | 14kw Model | Aquatight InverterMAX Silent 13 | 30 | 1.05 | Jun | 11
|  | Adelaide Hills | 1.3 | 1.3 |  |  | 36kw Model | 5.2 | 150000 | 180000 | 210000 | 0.5 | TRUE | 7 | 0.03888 | 16kw Model | Aquatight Saturn Inverter Model iX16 | 31 | 1.1 | Jul | 11
[16 empty] | 16kw Model | Aquatight InverterMAX Silet 15 | 32 | 1.1 | Aug | 11
[20 empty] | Sep | 7
[16 empty] | 23kw Model | Aquatight InverterMAX Silent 21 |  |  | Oct | 7
[16 empty] | 30kw Model | Aquatight InverterMAX Silent 28 |  |  | Nov | 7
[16 empty] | 36kw Model | Aquatight InverterMAX Silent 36 |  |  | Dec | 3

## Calculations (hidden)
Calculations
1 | Recommended Heading Unit
| Litres Capacity Factor | 1
| Pool Capacity Equivalent | 0 | Litres
| Selected Season | Full Year
| Recommended Heading Unit | 9kw Model
| Selected Heater | None
| Draw Per Hour | 1.4 | KW per Hour
| Cost Per Hour | 0.42
| Pool Temp Factor | 1
| Location Hours Factor | 1
| Upgrade Heater Factor | 1
2 | Hours Per Day
| Month | Hours Per Day | Hours Per Month
| Jan | 3 | 93
| Feb | 3 | 84
| Mar | 7 | 217
| Apr | 7 | 210
| May | 7 | 217
| Jun | 11 | 330
| Jul | 11 | 341
| Aug | 11 | 341
| Sep | 7 | 210
| Oct | 7 | 217
| Nov | 7 | 210
| Dec | 3 | 93
3 | Model List
| Aquatight Saturn Inverter Model iX09 | 1
2
3
4
5
4 | Upgraded Heaters
None
| 12kw Model | 2
| 14kw Model | 3
| 16kw Model | 4
| 23kw Model | 5