## Heat Pump Calculator
Heating Requirements
|  | Your Location | Brisbane |  |  |  |  | Full Year |  | Extended |  | Solar
[7 empty] | Full Year Heating (12 Mths) |  | Extended Season (9 Mths) |  | Solar Equivalent ( 6 Mths)
Pool Dimensions
|  | Average Length | 8 | (Metres) | Month | Season | No Cover | With Cover | No Cover | With Cover | No Cover | With Cover
|  | Average Width | 6 | (Metres) | Jan | SUMMER | 41.4131 | 31.8562 | 41.4131 | 31.8562 | 41.4131 | 31.8562
|  | Average Depth | 1.2 | (Metres) | Feb |  | 37.4054 | 28.7734 | 37.4054 | 28.7734 | 37.4054 | 28.7734
[5 empty] | March | AUTUMN | 96.6305 | 74.3312 | 96.6305 | 74.3312 | 96.6305 | 74.3312
|  | Your Pool Capacity Is | 57600 | (Litres) | April |  | 93.5134 | 71.9334 | 93.5134 | 71.9334
[5 empty] | May |  | 96.6305 | 74.3312 | 96.6305 | 74.3312
|  | Desired Pool Temperature | 32 |  | June | WINTER | 146.9497 | 113.0382
[5 empty] | July |  | 151.848 | 116.8061
|  | Pool Cover | Yes |  | Aug |  | 151.848 | 116.8061 |  |  |  |  | .
[5 empty] | Sept | SPRING | 93.5134 | 71.9334 | 93.5134 | 71.9334
|  | Desired Heating Season | Solar Equivalent (6 Months) |  | Oct |  | 96.6305 | 74.3312 | 96.6305 | 74.3312 | 96.6305 | 74.3312
[5 empty] | Nov |  | 93.5134 | 71.9334 | 93.5134 | 71.9334 | 93.5134 | 71.9334
|  | Power Cost | 30 | (Cents per KW Hour - from your latest power bill) | Dec | SUMMER | 41.4131 | 31.8562 | 41.4131 | 31.8562 | 41.4131 | 31.8562
Total Estimated Annual Running Cost
[5 empty] | Standard Model |  | 1141.309 | 877.93 | 690.6634 | 531.2795 | 407.006 | 313.0816
| Heater Capacity |  |  |  | Inverter Model |  | 684.7854 | 526.758 | 414.398 | 318.7677 | 244.2036 | 187.8489
Recommended Heater
IVPR09
Upgrade Heater To
12.5kW Model
Cost Results
Estimated Annual Cost
|  | With Inverter | 187.8489 | (Per Annum)
|  | Without Inverter | 313.0816 | (Per Annum)
© 2017 Aquatight
Developed by SolVu Consulting
Pool Heating Cost Calculator
The values indicated are valid under ideal conditions and for a standard basic domestic pool. Pool should be covered with an isothermal cover and the heater running for the required hours per day during the hottest part of the day. Waterfalls and other pool features will effect these figures.
The above data is subject to modification without notice

## Lookup
No Cover Factor | Inverter Factor | Location | Litres Capacity Factor | Hours Per Day Factor | Heating Period | Season | Heater Rating | Kw PH Draw | Full Year | Extended | Solar | Heating Factor | Recommended or Greater | Ranked | Heating Hours Factor | Heater Rating | Heater Models | Pool Temperature | Hours Per Day Factor | Months | Hours Per Day Required
1.3 | 0.6 | Brisbane | 1 | 1 | Solar Equivalent (6 Months) | Solar | 9.0kw Model | 1.28 | 0 | 0 | 0 | 1 | TRUE | 1 | 1 | 9.0kw Model | IVPR09 | 25 | 0.9 | Jan | 3
|  | Perth | 1 | 1 | Summer/Autumn/Spring (9 Months) | Extended | 12.5kW Model | 1.73 | 41666.6667 | 58333.3333 | 70833.3333 | 0.6 | TRUE | 2 | 0.6 | 12.5kW Model | IVPR13 | 26 | 0.95 | Feb | 3
|  | Adelaide Metro | 1.1 | 1.1 | All Year Round (12 Months) | Full Year | 12.8kW Model | 1.73 | 42666.6667 | 59733.3333 | 72533.3333 | 0.6 | TRUE | 3 | 0.36 | 12.8kW Model | Aquatight InverterMax-Silent Pro13 | 27 | 1 | Mar | 7
|  | Sydney | 1.1 | 1.1 |  |  | 15.0kW Model | 2.2 | 65625 | 90000 | 105000 | 0.6 | TRUE | 4 | 0.216 | 15.0kW Model | Aquatight InverterMax-Silent Pro15 | 28 | 1 | Apr | 7
|  | Melbourne | 1.15 | 1.15 |  |  | 16.0kW Model | 2.34 | 70000 | 96000 | 112000 | 0.6 | TRUE | 5 | 0.1296 | 16.0kW Model | IVPR17 | 29 | 1 | May | 7
|  | Hobart | 1.3 | 1.3 |  |  | 17.3kW Model | 2.6 | 75687.5 | 103800 | 121100 | 0.6 | TRUE | 6 | 0.07776 | 17.3kW Model | Aquatight InverterMax-Silent Pro17 | 30 | 1.05 | Jun | 11
|  | Adelaide Hills | 1.3 | 1.3 |  |  | 20.4kW Model | 3.3 | 85000 | 102000 | 119000 | 0.6 | TRUE | 7 | 0.046656 | 20.4kW Model | Aquatight InverterMax-Silent Pro21 | 31 | 1.1 | Jul | 11
[7 empty] | 27.0kW Model | 3.8 | 112500 | 135000 | 157500 | 0.6 | TRUE | 8 | 0.027994 | 27.0kW Model | Aquatight InverterMax-Silent Pro28 or Pro28T | 32 | 1.1 | Aug | 11
[7 empty] | 35.6kW Model | 5.2 | 150000 | 180000 | 210000 | 0.5 | TRUE | 9 | 0.013997 | 35.6kW Model | Aquatight InverterMax-Silent Pro35T |  |  | Sep | 7
[20 empty] | Oct | 7
[20 empty] | Nov | 7
[20 empty] | Dec | 3

## Calculations
Calculations
1 | Recommended Heading Unit
| Litres Capacity Factor | 1
| Pool Capacity Equivalent | 57600 | Litres
| Selected Season | Solar
| Recommended Heading Unit | 9.0kw Model
| Selected Heater | 12.5kW Model
| Draw Per Hour | 1.73 | KW per Hour
| Cost Per Hour | 0.519
| Pool Temp Factor | 1.1
| Location Hours Factor | 1
| Upgrade Heater Factor | 0.6
2 | Hours Per Day
| Month | Hours Per Day | Hours Per Month
| Jan | 1.98 | 61.38
| Feb | 1.98 | 55.44
| Mar | 4.62 | 143.22
| Apr | 4.62 | 138.6
| May | 4.62 | 143.22
| Jun | 7.26 | 217.8
| Jul | 7.26 | 225.06
| Aug | 7.26 | 225.06
| Sep | 4.62 | 138.6
| Oct | 4.62 | 143.22
| Nov | 4.62 | 138.6
| Dec | 1.98 | 61.38
3 | Model List
| IVPR09 | 1
2
3
4
5
4 | Upgraded Heaters
None
| 12.5kW Model | 2
| 12.8kW Model | 3
| 15.0kW Model | 4
| 16.0kW Model | 5